Data Companion for Single Phase Transformers

Alexander J King
ENGT 3050:004
Transformers Lab
4.13.20

Procedure

Step

8	Yes

10

14

16

18

Yes they’re virtually equal. Yes the above manipulatons confirm the relationship between the turns ratio and the voltage ratio.

22.

Es= Ep * (Ns/Np)

120 = 24 * (Ns/Np)

120/24 = 5

5= (Np/Ns)

1:5 ratio

25

26.

Yes they’re virtually equal.

Yes it is considered a step-up transformer because it meets the definition: A transformer that increases the voltage from primary to secondary (more secondary winding turns than primary winding turns) is called a step-up transformer.

Voltage was increased by a factor of 5.

29

30. Yes. 5:1 is the inverse of 1:5.

31

Yes they are close but not virtually identical.

34.

5:1 ratio

36

37. Yes they are virtually equal.

Yes you could conclude it is a step-down transformer because the ratio is going from 5 to 1. Greater to lesser.

41

42.

Yes 5:1 in the inverse of 1:5.

43

Yes they’re close but not virtually equal.

44.

Yes they’re bi-directional because we covered stepping up (lesser to greater) and stepping down (greater to less) which fits the  definition of bi-directional.

No a single power transformer cannot act alone as a step-up or step-down transformer because they need to have a difference in the wrapped coils in order to step up or down. Having one alone will not accomplish this task.

REVIEW QUESTIONS:

1.

A power transformer   has   125 turns   of   wire   in   one   of   its   windings,   and 375 turns of wire in the other. What is the transformer turns ratio when it is used as a step-up transformer? What is the transformer turns ratio when it is used as a step-down transformer?

125:375 == 1:3 stepping up from 1 to 3.

375:125 == 3:1 stepping down from 3 to 1.

2. A step-up transformer connected to a resistive load has 300 turns  of  wire  in  the  primary  winding and  1000 turns  of  wire  in  the secondary  winding.  Determine   the   current Isec.   flowing   in the   secondary   winding   of   the   transformer when a current Iprimary of 3 A flows in the primary winding.

300:1000

3:10

10:3

Ip = 3A

10/3 = 3.3333

3*3.3333 = 10A

10A = Isec.

3.

Is it possible for a single power transformer to operate at one time as a step-up  transformer  and  at another  time  as  a  step-down  transformer?  Explain why.

If you change the location of the single-power input yes or if you change the specs of the secondary transformer yes.

The direction in which energy flows dictates if it is stepping up or stepping down.

4.

A  step-down  transformer  has  480 turns  of  wire  in  the  primary  winding  and 120 turns of wire in the secondary winding. Determine the voltage across the  primary  winding  of  the  transformer  when  a  voltage  of  60 V  is  measuredacross the secondary winding of the transformer.

480:120

4:1

60*4 = 240v

Vp = 240v

5.

A  voltage of  60 V  is  measured  across  the  primary  winding  of  a  step-up transformer  while  a  voltage of  300 V  is  measured  across  the  secondary  winding.  Given that a  current of  2.5 A flows  in  the  primary  winding  of  the  transformer, calculate the current flowing in the secondary winding.

60:300

6:30

1:5

300v across Vs.

2.5a = Ip

2.5*5 = 12.5A

Is = 12.5A